## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 29.09.2025
Design company: |  |  |  |  | Google coordinates: | 44.72978, 20.03211
INPUT DATA
INPUT DATA PER ROOF
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Tilt angle [°] | 35.0° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | 30.0° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 50.0m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Electricity prices
January | 500.0 kWh |  |  |  | Base price of electricity [EUR/MWh]: |  | 120 EUR / MWh
February | 400.0 kWh |  |  |  | Taxes and VAT [% of electricity price]: |  | 40.0 %
March | 320.0 kWh |  |  |  | Total electricity price [EUR/MWh]: |  | 168.0 EUR / MWh
April | 400.0 kWh |  |  |  | Selling price of electricity [EUR/MWh]: |  | 115 EUR / MWh
May | 460.0 kWh
June | 700.0 kWh |  |  |  | PV module information
Jully | 530.0 kWh |  |  |  | Nominal power [Wp]: |  | 460.0 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
August | 540.0 kWh |  |  |  | Length [mm]: |  | 1800 mm
September | 750.0 kWh |  |  |  | Width [mm]: |  | 1134 mm
October | 740.0 kWh
November | 300.0 kWh
December | 600.0 kWh
Maximum authorised power [kW]: | 6.9 kW
OUTPUT DATA
Recommended power of the PV power plant [kWp] |  | 4,60 kWp |  |  | Annual energy surplus [kWh] |  |  | 2.026,14 kWh
Maximum power that can be installed on the roofs [kWp] |  | 9,66 kWp |  |  | Annual energy surplus [%] |  |  | 35,70 %
Total estimated annual energy production [kWh] |  | 5.675,84 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 55.386,92 kWh
Total used area of ​​the roofs [m²] |  | 23,47 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 131,88 tons
Annual energy savings [kWh] |  | 3.649,70 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 92,00 EUR
Annual energy savings [%] |  | 58,49% |  |  | Estimated value of the investment [EUR] |  |  | 4.600 EUR
Annual energy savings [EUR] |  | 846,16 EUR |  |  | ROI [years] |  |  | 5,57 years
Total energy savings in the exploitation period [kWh] |  | 99.769,03 kWh
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF Note: The roofs are sorted by optimality for use
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Roof tilt angle [°] |  | 35 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | 30 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 4,60 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 10 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 1.233.878,05 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 23,47m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA [kWh]
Month | Consumption | 1: Production; 2: Surplus; 3: Savings
January | 500 | 1: 238.7639; 2: 51.2844; 3: 187.4795
February | 400 | 1: 318.3405; 2: 124.5201; 3: 193.8204
March | 320 | 1: 450.998; 2: 245.8941; 3: 205.1039
April | 400 | 1: 581.2769; 2: 290.7828; 3: 290.4942
May | 460 | 1: 603.1451; 2: 265.0377; 3: 338.1074
June | 700 | 1: 638.751; 2: 147.0148; 3: 491.7362
Jully | 530 | 1: 738.8021; 2: 287.1043; 3: 451.6978
August | 540 | 1: 641.6468; 2: 234.7025; 3: 406.9443
September | 750 | 1: 495.8266; 2: 86.0572; 3: 409.7695
October | 740 | 1: 374.7377; 2: 62.357; 3: 312.3807
November | 300 | 1: 358.0134; 2: 192.0903; 3: 165.9232
December | 600 | 1: 235.537; 2: 39.292; 3: 196.245
TOTAL | 6240 | 1: 5675.839; 2: 2026.1371; 3: 3649.7019; 5: Note: Calculations were made on an hourly basis during the year
CASH FLOW |  | 8: EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2024 | -3753.84 | 8: DC cables lenght [m]; 10: 83 m
| -2924.61 | 8: Mounting system type - example; 10: K2 SolidRail System
-2099.94
| -1279.8 | 8: PV modules
| -464.18 | 8: Nominal power [Wp]; 10: Quantity
| 346.96 | 8: 460 Wp; 10: 10
1153.64
| 1955.88 | 8: Inverters
| 2753.71 | 8: Nominal power [kW]; 10: Quantity
| 3547.15 | 8: 5; 10: 1
4336.23
5120.96
5901.39
6677.51
7449.37
| 8216.99 | 8: Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
8980.38
9739.58
10494.6
11245.46
11992.2
12734.83
13473.37
14207.86
14938.3
15664.72
16387.15
17105.61
17820.12
18530.69