## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 03.12.2025
Design company: |  |  |  |  | Google coordinates: | 44.76380, 20.43212
INPUT DATA
INPUT DATA PER ROOF
Roof number | 1 | / | / | / | / | / | / | / | / | /
Tilt angle [°] | 5° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | 7° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 11.341m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Working hours
January | 20 kWh |  |  |  | Monday |  | 17:00 - 22:00
February | 20 kWh |  |  |  | Tuesday |  | 17:00 - 22:00
March | 20 kWh |  |  |  | Wednesday |  | 17:00 - 22:00
April | 20 kWh |  |  |  | Thursday |  | 17:00 - 22:00
May | 20 kWh |  |  |  | Friday |  | 17:00 - 22:00
June | 20 kWh |  |  |  | Saturday |  | /
Jully | 20 kWh |  |  |  | Sunday |  | /
August | 20 kWh
September | 20 kWh |  |  |  | Non-working days in the year: |  | 2 days
October | 20 kWh
November | 20 kWh |  |  |  | PV module information
December | 20 kWh |  |  |  | Nominal power [Wp]: |  | 20 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
[5 empty] | Length [mm]: |  | 20 mm
Maximum authorised power [kW]: | - |  |  |  | Width [mm]: |  | 20 mm
Electricity prices
Base price of electricity [EUR/MWh]: | 200 EUR / MWh
Taxes and VAT [% of electricity price]: | 100,0 %
Total electricity price [EUR/MWh]: | 400 EUR / MWh
Selling price of electricity [EUR/MWh]: | 200 EUR / MWh
OUTPUT DATA
Recommended power based on the electricity consumption [kWp] |  | 0,32 kWp |  | Total energy savings in the exploitation period [kWh] |  |  |  | 27,32 kWh
Maximum power based on the free roof surface [kWp] |  | 493.043,46 kWp |  |  | Annual energy surplus [kWh] |  |  | 363,86 kWh
Final power of the PV plant [kWp] |  | 0,32 kWp |  |  | Annual energy surplus [%] |  |  | 99,73 %
Total estimated annual energy production [kWh] |  | 364,86 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 9.946,47 kWh
Total used area of |  | 0,01 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 8,48 tons
Annual energy savings [kWh] |  | 1,00 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 1,28 EUR
Annual energy savings [%] |  | 0,42% |  |  | Estimated value of the investment [EUR] |  |  | 64 EUR
Annual energy savings [EUR] |  | 73,17 EUR |  |  | ROI [years] |  |  | 0,50 years
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF
Roof number |  | 1 | / | / | / | / | / | / | / | / | /
Roof tilt angle [°] |  | 5 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | 7 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 0,32 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 16 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 364,86 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 0,01m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA [kWh]
Month | Consumption | Production | Surplus | Savings | Monthly expenses in HT with a PV power plant | Monthly expenses in Htwithout a PV power plant
January | 20 | 11.5214 | 11.5214 | 0 | 8 € | 6 €
February | 20 | 17.8978 | 17.8978 | 0 | 8 € | 4 €
March | 20 | 27.4071 | 27.4071 | 0 | 8 € | 3 €
April | 20 | 39.3464 | 39.337 | 0.0093344 | 8 € | 0 €
May | 20 | 43.4731 | 43.3311 | 0.14205 | 8 € | -1 €
June | 20 | 47.666 | 47.3147 | 0.35126 | 8 € | -2 €
Jully | 20 | 53.7785 | 53.3688 | 0.40964 | 8 € | -3 €
August | 20 | 43.881 | 43.7939 | 0.08712 | 8 € | -1 €
September | 20 | 30.3889 | 30.3889 | 0 | 8 € | 2 €
October | 20 | 21.7217 | 21.7217 | 0 | 8 € | 4 €
November | 20 | 16.8886 | 16.8886 | 0 | 8 € | 5 €
December | 20 | 10.8858 | 10.8858 | 0 | 8 € | 6 €
TOTAL | 240 | 364.8562 | 363.8568 | 0.9994 | 96 € | 23 € | Note: Calculations were made on an hourly basis during the year
CASH FLOW | [8 empty] | EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2026 | 9.17 | [7 empty] | DC cables lenght [m] |  | 6 m
| 80.88 | [7 empty] | Mounting system type - example |  | K2 MultiRail System
152.19
| 223.11 | [7 empty] | PV modules
| 293.64 | [7 empty] | Nominal power [Wp] |  | Quantity
| 363.79 | [7 empty] | 20 Wp |  | 16
433.54
| 502.92 | [7 empty] | Inverters
| 571.91 | [7 empty] | Nominal power [kW] |  | Quantity
| 640.52 | [7 empty] | 3 |  | 1
708.76
776.62
844.1
911.22
977.97
| 1044.35 | [7 empty] | Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
1110.36
1176.01
1241.3
1306.23
1370.81
1435.03
1498.89
1562.41
1625.57
1688.39
1750.86
1812.99
1874.77
1936.22