## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 24.05.2025
Design company: |  |  |  |  | Google coordinates: | 44.75428, 20.35859
INPUT DATA
INPUT DATA PER ROOF
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Tilt angle [°] | 3.0° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | -49.0° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 8991.42m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Electricity prices
January | 20.0 kWh |  |  |  | Base price of electricity [EUR/MWh]: |  | 20 EUR / MWh
February | 20.0 kWh |  |  |  | Taxes and VAT [% of electricity price]: |  | 20.0 %
March | 20.0 kWh |  |  |  | Total electricity price [EUR/MWh]: |  | 24.0 EUR / MWh
April | 20.0 kWh |  |  |  | Selling price of electricity [EUR/MWh]: |  | 20 EUR / MWh
May | 20.0 kWh
June | 20.0 kWh |  |  |  | PV module information
Jully | 20.0 kWh |  |  |  | Nominal power [Wp]: |  | 20.0 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
August | 20.0 kWh |  |  |  | Length [mm]: |  | 20 mm
September | 20.0 kWh |  |  |  | Width [mm]: |  | 20 mm
October | 20.0 kWh
November | 20.0 kWh
December | 20.0 kWh
Maximum authorised power [kW]: | -
OUTPUT DATA
Recommended power of the PV power plant [kWp] |  | 0,16 kWp |  |  | Annual energy surplus [kWh] |  |  | 53,99 kWh
Maximum power that can be installed on the roofs [kWp] |  | 390.913,04 kWp |  |  | Annual energy surplus [%] |  |  | 30,35 %
Total estimated annual energy production [kWh] |  | 177,88 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 1.475,90 kWh
Total used area of ​​the roofs [m²] |  | 0,00 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 4,13 tons
Annual energy savings [kWh] |  | 123,89 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 6,40 EUR
Annual energy savings [%] |  | 51,62% |  |  | Estimated value of the investment [EUR] |  |  | 320 EUR
Annual energy savings [EUR] |  | 4,05 EUR |  |  | ROI [years] |  |  | -1,00 years
Total energy savings in the exploitation period [kWh] |  | 3.386,61 kWh
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF Note: The roofs are sorted by optimality for use
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Roof tilt angle [°] |  | 3 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | -49 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 0,16 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 8 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 1.111.737,17 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 0,00m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA [kWh]
Month | Consumption | 1: Production; 2: Surplus; 3: Savings
January | 20 | 1: 5.4383; 2: 0.25164; 3: 5.1867
February | 20 | 1: 8.3867; 2: 0.82343; 3: 7.5632
March | 20 | 1: 13.2534; 2: 3.2719; 3: 9.9816
April | 20 | 1: 19.5208; 2: 6.7408; 3: 12.7801
May | 20 | 1: 21.5774; 2: 8.2037; 3: 13.3737
June | 20 | 1: 23.661; 2: 9.3867; 3: 14.2744
Jully | 20 | 1: 26.7371; 2: 10.677; 3: 16.0601
August | 20 | 1: 21.5604; 2: 7.6372; 3: 13.9231
September | 20 | 1: 14.8337; 2: 4.099; 3: 10.7347
October | 20 | 1: 10.2764; 2: 1.8041; 3: 8.4723
November | 20 | 1: 7.8024; 2: 0.82859; 3: 6.9738
December | 20 | 1: 4.8303; 2: 0.26653; 3: 4.5637
TOTAL | 240 | 1: 177.8779; 2: 53.9907; 3: 123.8873; 5: Note: Calculations were made on an hourly basis during the year
CASH FLOW |  | 8: EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2024 | -315.95 | 8: DC cables lenght [m]; 10: 3 m
| -311.97 | 8: Mounting system type - example; 10: K2 MultiRail System
-308.02
| -304.1 | 8: PV modules
| -300.19 | 8: Nominal power [Wp]; 10: Quantity
| -296.3 | 8: 20 Wp; 10: 8
-292.44
| -288.6 | 8: Inverters
| -284.78 | 8: Nominal power [kW]; 10: Quantity
| -280.97 | 8: 3; 10: 1
-277.2
-273.44
-269.7
-265.98
-262.28
| -258.61 | 8: Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
-254.95
-251.31
-247.7
-244.1
-240.52
-236.97
-233.43
-229.91
-226.41
-222.93
-219.47
-216.03
-212.61
-209.2