## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 19.09.2025
Design company: |  |  |  |  | Google coordinates: | 44.72978, 20.03211
INPUT DATA
INPUT DATA PER ROOF
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Tilt angle [°] | 45.0° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | 70.0° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 60.0m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Working hours
January | 5000.0 kWh |  |  |  | Monday |  | 04:00 - 20:00
February | 4000.0 kWh |  |  |  | Tuesday |  | 04:00 - 20:00
March | 3200.0 kWh |  |  |  | Wednesday |  | 04:00 - 20:00
April | 4000.0 kWh |  |  |  | Thursday |  | 04:00 - 20:00
May | 4600.0 kWh |  |  |  | Friday |  | 04:00 - 20:00
June | 700.0 kWh |  |  |  | Saturday |  | /
Jully | 5300.0 kWh |  |  |  | Sunday |  | /
August | 5450.0 kWh
September | 7500.0 kWh |  |  |  | Non-working days in the year: |  | 5 days
October | 7450.0 kWh
November | 3000.0 kWh |  |  |  | PV module information
December | 6000.0 kWh |  |  |  | Nominal power [Wp]: |  | 450.0 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
[5 empty] | Length [mm]: |  | 2500 mm
Maximum authorised power [kW]: | 3.0 kW |  |  |  | Width [mm]: |  | 1300 mm
Electricity prices
Base price of electricity [EUR/MWh]: | 100 EUR / MWh
Taxes and VAT [% of electricity price]: | 30.0 %
Total electricity price [EUR/MWh]: | 130.0 EUR / MWh
Selling price of electricity [EUR/MWh]: | 92 EUR / MWh
OUTPUT DATA
Recommended power of the PV power plant [kWp] |  | 3,15 kWp |  |  | Annual energy surplus [kWh] |  |  | 998,57 kWh
Maximum power that can be installed on the roofs [kWp] |  | 7,20 kWp |  |  | Annual energy surplus [%] |  |  | 29,92 %
Total estimated annual energy production [kWh] |  | 3.337,44 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 27.297,13 kWh
Total used area of ​​the roofs [m²] |  | 26,16 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 77,55 tons
Annual energy savings [kWh] |  | 2.338,87 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 75,60 EUR
Annual energy savings [%] |  | 4,16% |  |  | Estimated value of the investment [EUR] |  |  | 3.780 EUR
Annual energy savings [EUR] |  | 395,92 EUR |  |  | ROI [years] |  |  | 9,91 years
Total energy savings in the exploitation period [kWh] |  | 63.935,75 kWh
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF Note: The roofs are sorted by optimality for use
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Roof tilt angle [°] |  | 45 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | 70 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 3,15 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 7 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 3.337,44 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 26,16m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA [kWh]
Month | Consumption | 1: Production; 2: Surplus; 3: Savings
January | 5000 | 1: 123.951; 2: 33.2474; 3: 90.7036
February | 4000 | 1: 168.6089; 2: 41.8319; 3: 126.7771
March | 3200 | 1: 256.3048; 2: 70.9356; 3: 185.3692
April | 4000 | 1: 342.468; 2: 84.8871; 3: 257.581
May | 4600 | 1: 379.3338; 2: 176.8455; 3: 202.4883
June | 700 | 1: 395.2998; 2: 114.0235; 3: 281.2763
Jully | 5300 | 1: 467.6226; 2: 126.1883; 3: 341.4343
August | 5450 | 1: 389.3798; 2: 124.8276; 3: 264.5522
September | 7500 | 1: 295.9896; 2: 74.7912; 3: 221.1984
October | 7450 | 1: 212.0816; 2: 73.1483; 3: 138.9332
November | 3000 | 1: 184.3448; 2: 46.5452; 3: 137.7996
December | 6000 | 1: 122.0517; 2: 31.2988; 3: 90.7529
TOTAL | 56200 | 1: 3337.4366; 2: 998.5704; 3: 2338.8662; 5: Note: Calculations were made on an hourly basis during the year
CASH FLOW |  | 8: EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2024 | -3384.08 | 8: DC cables lenght [m]; 10: 57 m
| -2996.08 | 8: Mounting system type - example; 10: K2 SolidRail System
-2610.21
| -2226.46 | 8: PV modules
| -1844.83 | 8: Nominal power [Wp]; 10: Quantity
| -1465.29 | 8: 450 Wp; 10: 7
-1087.84
| -712.47 | 8: Inverters
| -339.16 | 8: Nominal power [kW]; 10: Quantity
| 32.1 | 8: 3; 10: 1
401.31
768.49
1133.66
1496.81
1857.97
| 2217.14 | 8: Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
2574.34
2929.57
3282.85
3634.18
3983.58
4331.06
4676.63
5020.3
5362.08
5701.98
6040.01
6376.18
6710.5
7042.98