## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 22.09.2025
Design company: |  |  |  |  | Google coordinates: | 44.72978, 20.03211
INPUT DATA
INPUT DATA PER ROOF
Roof number | 1 | / | / | / | / | / | / | / | / | /
Tilt angle [°] | 45.0° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | 70.0° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 60.0m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Electricity prices
January | 5000.0 kWh |  |  |  | Base price of electricity [EUR/MWh]: |  | 100 EUR / MWh
February | 4000.0 kWh |  |  |  | Taxes and VAT [% of electricity price]: |  | 30.0 %
March | 3200.0 kWh |  |  |  | Total electricity price [EUR/MWh]: |  | 130.0 EUR / MWh
April | 4000.0 kWh |  |  |  | Selling price of electricity [EUR/MWh]: |  | 92 EUR / MWh
May | 4600.0 kWh
June | 700.0 kWh |  |  |  | PV module information
Jully | 5300.0 kWh |  |  |  | Nominal power [Wp]: |  | 450.0 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
August | 5450.0 kWh |  |  |  | Length [mm]: |  | 2500 mm
September | 7500.0 kWh |  |  |  | Width [mm]: |  | 1300 mm
October | 7450.0 kWh
November | 3000.0 kWh
December | 6000.0 kWh
Maximum authorised power [kW]: | 3.0 kW
OUTPUT DATA
Recommended power based on the electricity consumption [kWp] |  | 33,75 kWp |  | Total energy savings in the exploitation period [kWh] |  |  |  | 86.508,70 kWh
Maximum power based on the free roof surface [kWp] |  | 7,20 kWp |  |  | Annual energy surplus [kWh] |  |  | 172,82 kWh
Final power of the PV plant [kWp] |  | 3,15 kWp |  |  | Annual energy surplus [%] |  |  | 5,18 %
Total estimated annual energy production [kWh] |  | 3.337,44 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 4.724,18 kWh
Total used area of ​​the roofs [m²] |  | 26,16 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 77,55 tons
Annual energy savings [kWh] |  | 3.164,62 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 75,60 EUR
Annual energy savings [%] |  | 5,63% |  |  | Estimated value of the investment [EUR] |  |  | 3.780 EUR
Annual energy savings [EUR] |  | 427,30 EUR |  |  | ROI [years] |  |  | 9,17 years
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF Note: The roofs are sorted by optimality for use
Roof number |  | 1 | / | / | / | / | / | / | / | / | /
Roof tilt angle [°] |  | 45 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | 70 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 3,15 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 7 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 1.059.503,67 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 26,16m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA
Month | Consumption | Production | Surplus | Savings | Monthly bills with a PV power plant | Monthly bills without a PV power plant
January | 5000 | 123.951 | 1.9653 | 121.9857 | 650 | 633.9611
February | 4000 | 168.6089 | 4.2554 | 164.3536 | 520 | 498.2425
March | 3200 | 256.3048 | 12.1905 | 244.1143 | 416 | 383.1436
April | 4000 | 342.468 | 21.0377 | 321.4303 | 520 | 476.2786
May | 4600 | 379.3338 | 25.6027 | 353.7311 | 598 | 549.6595
June | 700 | 395.2998 | 26.2727 | 369.0271 | 91 | 40.6094
Jully | 5300 | 467.6226 | 26.1777 | 441.4449 | 689 | 629.2038
August | 5450 | 389.3798 | 21.1548 | 368.225 | 708.5 | 658.6845
September | 7500 | 295.9896 | 15.869 | 280.1206 | 975 | 937.1244
October | 7450 | 212.0816 | 10.9318 | 201.1497 | 968.5 | 941.3448
November | 3000 | 184.3448 | 5.1491 | 179.1958 | 390 | 366.2308
December | 6000 | 122.0517 | 2.211 | 119.8407 | 780 | 764.2173
TOTAL | 56200 | 3337.4366 | 172.8177 | 3164.6189 | 7306 | 6878.7003 | Note: Calculations were made on an hourly basis during the year
CASH FLOW | [8 empty] | EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2026 | -3352.7 | [7 empty] | DC cables lenght [m] |  | 57 m
| -2933.95 | [7 empty] | Mounting system type - example |  | K2 SolidRail System
-2517.5
| -2103.34 | [7 empty] | PV modules
| -1691.45 | [7 empty] | Nominal power [Wp] |  | Quantity
| -1281.84 | [7 empty] | 450 Wp |  | 7
-874.47
| -469.35 | [7 empty] | Inverters
| -66.45 | [7 empty] | Nominal power [kW] |  | Quantity
| 334.22 | [7 empty] | 3 |  | 1
732.7
1128.98
1523.09
1915.03
2304.81
| 2692.44 | [7 empty] | Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
3077.95
3461.33
3842.61
4221.79
4598.88
4973.9
5346.86
5717.77
6086.63
6453.47
6818.29
7181.1
7541.92
7900.76