## Data
Feasibility Study - Rooftop Solar Power Plant
Investor: |  |  |  |  | Date: | 30.04.2025
Design company: |  |  |  |  | Google coordinates: | 44.87320, 20.29552
INPUT DATA
INPUT DATA PER ROOF
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Tilt angle [°] | 10.0° | / | / | / | / | / | / | / | / | /
Azimuth angle [°] | 14.0° | / | / | / | / | / | / | / | / | /
Free surface [m²] | 14727524.89m² | / | / | / | / | / | / | / | / | /
Monthly energy consumption in the high tariff [kWh] |  |  |  |  | Electricity prices
January | 30000.0 kWh |  |  |  | Base price of electricity [EUR/MWh]: |  | 120 EUR / MWh
February | 30000.0 kWh |  |  |  | Taxes and VAT [% of electricity price]: |  | 30.0 %
March | 30000.0 kWh |  |  |  | Total electricity price [EUR/MWh]: |  | 156.0 EUR / MWh
April | 30000.0 kWh |  |  |  | Selling price of electricity [EUR/MWh]: |  | 100 EUR / MWh
May | 30000.0 kWh
June | 30000.0 kWh |  |  |  | PV module information
Jully | 30000.0 kWh |  |  |  | Nominal power [Wp]: |  | 450.0 Wp |  | Note: Additional safety space on the roofs will be included in the calculations
August | 30000.0 kWh |  |  |  | Length [mm]: |  | 2000 mm
September | 30000.0 kWh |  |  |  | Width [mm]: |  | 10000 mm
October | 30000.0 kWh
November | 30000.0 kWh
December | 30000.0 kWh
Maximum authorised power [kW]: | -
OUTPUT DATA
Recommended power of the PV power plant [kWp] |  | 253,80 kWp |  |  | Annual energy surplus [kWh] |  |  | 97.945,32 kWh
Maximum power that can be installed on the roofs [kWp] |  | 288.147,15 kWp |  |  | Annual energy surplus [%] |  |  | 32,43 %
Total estimated annual energy production [kWh] |  | 302.059,36 kWh |  |  | Total energy surplus in the exploitation period [kWh] |  |  | 2.677.454,23 kWh
Total used area of ​​the roofs [m²] |  | 12.972,00 m² |  |  | CO2 emissions reduction during the exploitation period [tons] |  |  | 7.018,59 tons
Annual energy savings [kWh] |  | 204.114,04 kWh |  |  | Estimated annual maintenance costs [EUR] |  |  | 5.076,00 EUR
Annual energy savings [%] |  | 56,70% |  |  | Estimated value of the investment [EUR] |  |  | 253.800 EUR
Annual energy savings [EUR] |  | 41.636,32 EUR |  |  | ROI [years] |  |  | 6,26 years
Total energy savings in the exploitation period [kWh] |  | 5.579.705,13 kWh
Feasibility Study - Rooftop Solar Power Plant
OUTPUT DATA PER ROOF Note: The roofs are sorted by optimality for use
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Roof tilt angle [°] |  | 10 ° | / | / | / | / | / | / | / | / | /
Roof azimuth angle [°] |  | 14 ° | / | / | / | / | / | / | / | / | /
Power that can be installed on the roof [kWp] |  | 253,80 kWp | / | / | / | / | / | / | / | / | /
Number of PV modules per roof |  | 564 | / | / | / | / | / | / | / | / | /
Estimated annual energy production per roof [kWh] |  | 1.190.147,19 kWh | / | / | / | / | / | / | / | / | /
Used roof area [m²] |  | 12.972,00m² | / | / | / | / | / | / | / | / | /
MONTHLY ENERGY DATA [kWh]
Month | Consumption | 1: Production; 2: Surplus; 3: Savings
January | 30000 | 1: 5627.0556; 2: 303.5895; 3: 5323.4662
February | 30000 | 1: 17650.3459; 2: 2867.2197; 3: 14783.1262
March | 30000 | 1: 28925.3144; 2: 9486.0359; 3: 19439.2785
April | 30000 | 1: 31113.9156; 2: 11535.1856; 3: 19578.73
May | 30000 | 1: 28198.4033; 2: 10281.8809; 3: 17916.5224
June | 30000 | 1: 40238.2845; 2: 16377.8719; 3: 23860.4126
Jully | 30000 | 1: 39436.8957; 2: 15709.4637; 3: 23727.432
August | 30000 | 1: 38212.7955; 2: 14961.5689; 3: 23251.2266
September | 30000 | 1: 27067.0137; 2: 8205.6369; 3: 18861.3767
October | 30000 | 1: 24253.392; 2: 6373.3505; 3: 17880.0414
November | 30000 | 1: 12175.7606; 2: 1228.3995; 3: 10947.361
December | 30000 | 1: 9160.1801; 2: 615.1153; 3: 8545.0648
TOTAL | 360000 | 1: 302059.3568; 2: 97945.3184; 3: 204114.0384; 5: Note: Calculations were made on an hourly basis during the year
CASH FLOW |  | 8: EQUIPMENT RECOMMENDATION
Year | Status [EUR]
2024 | -212163.68 | 8: DC cables lenght [m]; 10: 4.568 m
| -171360.08 | 8: Mounting system type - example; 10: K2 MultiRail System
-130780.91
| -90424.92 | 8: PV modules
| -50290.88 | 8: Nominal power [Wp]; 10: Quantity
| -10377.59 | 8: 450 Wp; 10: 564
29316.18
| 68791.64 | 8: Inverters
| 108049.98 | 8: Nominal power [kW]; 10: Quantity
| 147092.4 | 8: 50; 10: 4
185920.09
224534.22
262935.98
301126.53
339107.02
| 376878.63 | 8: Note: This is an equipment recommendation based on basic calculations. Consultation with an expert to check the adequacy of the equipment is recommended.
414442.49
451799.76
488951.55
525899.01
562643.26
599185.42
635526.6
671667.9
707610.42
743355.26
778903.5
814256.22
849414.51
884379.42